## cost estimate
Account | Account Title | FOAK Estimated Cost ($2025) | NOAK Estimated Cost ($2025) | FOAK Estimated Cost std ($2025) | NOAK Estimated Cost std ($2025) | FOAK LCOE | NOAK LCOE | FOAK LCOE_std | NOAK LCOE_std
10 | Capitalized Pre-Construction Costs | 39000965 | 17383432 | 6428647 | 2050173 | 57 | 25 | 9 | 3
11 | Land Cost | 78744 | 78744 | 10890 | 10890 | 0 | 0 | 0 | 0
12 | Site Permits | 69765 | 69765 | 10216 | 10216 | 0 | 0 | 0 | 0
13 | Plant Licensing | 27967992 | 6350458 | 6230087 | 1414614 | 41 | 9 | 9 | 2
14 | Plant Permits | 4819462 | 4819462 | 909421 | 909421 | 7 | 7 | 1 | 1
15 | Plant Studies | 6065001 | 6065001 | 1112848 | 1112848 | 8 | 8 | 1 | 1
20 | Capitalized Direct Costs | 97194170 | 38799762 | 16317556 | 10233034 | 143 | 57 | 24 | 15
21 | Structures and Improvements | 13432689 | 3177691 | 6372514 | 1140090 | 19 | 4 | 9 | 1
211 | Site Preparation/ Yard Work | 199630 | 114719 | 20187 | 11600 | 0 | 0 | 0 | 0
211.1 | Cleaning and Grubbing | 116503 | 66950 | 17767 | 10210 | 0 | 0 | 0 | 0
211.2 | Stripping Topsoil | 68303 | 39251 | 11377 | 6537 | 0 | 0 | 0 | 0
211.3 | Excavation | 14823 | 8518 | 2049 | 1178 | 0 | 0 | 0 | 0
212 | Reactor Island Civil Structures | 1769051 | 1016604 | 364997 | 209749 | 2 | 1 | 0 | 0
212.1 | Reactor Building Slab Roof | 195598 | 112402 | 29949 | 17210 | 0 | 0 | 0 | 0
212.2 | Reactor Building Basement | 154555 | 88817 | 23486 | 13496 | 0 | 0 | 0 | 0
212.3 | Reactor Building Walls | 163360 | 93876 | 23880 | 13723 | 0 | 0 | 0 | 0
212.4 | Reactor Building Liner | 1115473 | 641018 | 347904 | 199926 | 1 | 0 | 0 | 0
212.5 | Reactor Building HVAC | 140062 | 80488 | 97066 | 55780 | 0 | 0 | 0 | 0
213 | Main Function Buildings | 51770 | 29750 | 4854 | 2789 | 0 | 0 | 0 | 0
213.1 | Energy conversion Building | 51770 | 29750 | 4854 | 2789 | 0 | 0 | 0 | 0
213.11 | Energy Conversion Building Slab Roof | 16127 | 9268 | 2284 | 1312 | 0 | 0 | 0 | 0
213.12 | Energy Conversion Building Basement | 12522 | 7196 | 1773 | 1019 | 0 | 0 | 0 | 0
213.13 | Energy Conversion Building Walls | 23120 | 13286 | 3786 | 2175 | 0 | 0 | 0 | 0
214 | Buildings to Support Main Function | 11412237 | 2016616 | 6371253 | 1125842 | 16 | 2 | 9 | 1
214.7 | Emergency and Start-up Power Systems Building | 11412237 | 2016616 | 6371253 | 1125842 | 16 | 2 | 9 | 1
214.72 | Diesel Generator | 11412237 | 2016616 | 6371253 | 1125842 | 16 | 2 | 9 | 1
22 | Reactor System | 39521660 | 8717978 | 4218393 | 1034371 | 58 | 12 | 6 | 1
221 | Reactor Components | 24837768 | 6108104 | 4005690 | 1022189 | 36 | 9 | 5 | 1
221.1 | Reactor Vessel and Accessories | 21126027 | 5452215 | 3881651 | 1001778 | 31 | 8 | 5 | 1
221.11 | Reactor Support | 3160314 | 815615 | 660381 | 170431 | 4 | 1 | 0 | 0
221.13 | Inner Vessel Structure - stainless_steel | 17965712 | 4636600 | 3525796 | 909939 | 26 | 6 | 5 | 1
221.3 | Non-Fuel Core Internals | 3711741 | 655888 | 479483 | 84727 | 5 | 0 | 0 | 0
221.31 | Reflector | 291211 | 51458 | 33691 | 5953 | 0 | 0 | 0 | 0
221.311 | Radial Reflector - Graphite | 213766 | 37773 | 31203 | 5513 | 0 | 0 | 0 | 0
221.312 | Axial Reflector - Graphite | 77445 | 13685 | 12333 | 2179 | 0 | 0 | 0 | 0
221.32 | Shield | 115830 | 20467 | 21407 | 3782 | 0 | 0 | 0 | 0
221.322 | Out The Vessel Shield Materials - WEP | 115830 | 20467 | 21407 | 3782 | 0 | 0 | 0 | 0
221.33 | Moderator - Graphite | 316176 | 55870 | 45034 | 7957 | 0 | 0 | 0 | 0
221.34 | Moderator (Booster) - ZrH | 2988523 | 528091 | 479509 | 84732 | 4 | 0 | 0 | 0
222 | Main Heat Transport System | 2320844 | 425242 | 241303 | 42996 | 3 | 0 | 0 | 0
222.1 | Fluid Circulation Drive System | 1565852 | 276696 | 216996 | 38344 | 2 | 0 | 0 | 0
222.13 | Compressor - GCMR | 1565852 | 276696 | 216996 | 38344 | 2 | 0 | 0 | 0
222.2 | Reactor Heat Transfer Piping System - GCMR | 372776 | 65871 | 51966 | 9182 | 0 | 0 | 0 | 0
222.3 | Heat Exchangers | 363832 | 64291 | 52195 | 9223 | 0 | 0 | 0 | 0
222.31 | Primary Heat Exchanger - SS316 | 363832 | 64291 | 52195 | 9223 | 0 | 0 | 0 | 0
222.5 | Initial Coolant Inventory - Helium | 18382 | 18382 | 2950 | 2950 | 0 | 0 | 0 | 0
223 | Safety Systems | 2382471 | 420998 | 258985 | 45764 | 3 | 0 | 0 | 0
223.2 | Reactor Cavity Cooling System (Rvacs) | 2382471 | 420998 | 258985 | 45764 | 3 | 0 | 0 | 0
223.21 | Rvacs (Cooling Vessel) | 1151296 | 203441 | 179043 | 31638 | 1 | 0 | 0 | 0
223.22 | Rvacs (Intake Vessel) | 1231174 | 217556 | 191978 | 33923 | 1 | 0 | 0 | 0
227 | Reactor Instrumentation and Control (I&C) | 9944133 | 1757193 | 1858540 | 328416 | 14 | 2 | 2 | 0
228 | Reactor Plant Miscellaneous Items | 36441 | 6439 | 8320 | 1470 | 0 | 0 | 0 | 0
23 | Energy Conversion System | 19351082 | 13135650 | 14067156 | 9998382 | 28 | 19 | 20 | 14
232 | Energy Applications | 18177914 | 12928343 | 14055912 | 9996727 | 26 | 19 | 20 | 14
232.1 | Electricity Generation Systems | 18177914 | 12928343 | 14055912 | 9996727 | 26 | 19 | 20 | 14
236 | Common Instrumentation & Controls | 1173168 | 207306 | 265577 | 46929 | 1 | 0 | 0 | 0
24 | Electrical Equipment | 10822322 | 7696961 | 3179801 | 2261511 | 16 | 11 | 4 | 3
241 | Switchgear | 1056879 | 751665 | 596654 | 424347 | 1 | 1 | 0 | 0
242 | Station Service Equipment | 791487 | 562915 | 536551 | 381601 | 1 | 0 | 0 | 0
243 | Switchboards | 253555 | 180331 | 122233 | 86934 | 0 | 0 | 0 | 0
244 | Protective Equipment | 829509 | 589957 | 465980 | 331410 | 1 | 0 | 0 | 0
245 | Electrical Structure & Wiring Container | 4676934 | 3326290 | 2267372 | 1612581 | 6 | 4 | 3 | 2
246 | Power & Control Wiring | 3213954 | 2285802 | 2169913 | 1543267 | 4 | 3 | 3 | 2
25 | Initial Fuel Inventory | 14066414 | 6071481 | 1559759 | 818288 | 20 | 8 | 2 | 1
251 | First Core Mining | 2603740 | 2603740 | 436614 | 436614 | 3 | 3 | 0 | 0
252 | First Core Conversion | 209230 | 209230 | 31516 | 31516 | 0 | 0 | 0 | 0
253 | First Core Enrichment | 1542529 | 1542529 | 661463 | 661463 | 2 | 2 | 0 | 0
254 | First Core Fuel Assembly Fabrication - Yes | 9710914 | 1715981 | 1475845 | 260791 | 14 | 2 | 2 | 0
30 | Capitalized Indirect Services Cost | 8176805 | 3982699 | 1217494 | 647135 | 12 | 5 | 1 | 0
31 | Factory & field indirect costs | 2364023 | 818398 | 518407 | 328619 | 3 | 1 | 0 | 0
32 | Factory and construction supervision | 853747 | 314539 | 564718 | 209292 | 1 | 0 | 0 | 0
33 | Startup Costs | 2785469 | 1600699 | 533923 | 306825 | 4 | 2 | 0 | 0
34 | Shipping and Transportation Costs | 980883 | 563675 | 248860 | 143010 | 1 | 0 | 0 | 0
35 | Engineering Services | 708844 | 407345 | 152167 | 87444 | 1 | 0 | 0 | 0
36 | PM/CM Services | 483836 | 278041 | 100253 | 57611 | 0 | 0 | 0 | 0
40 | Capitalized training costs | 171948 | 171948 | 44672 | 44672 | 0 | 0 | 0 | 0
41 | staff recruitment and training | 171948 | 171948 | 44672 | 44672 | 0 | 0 | 0 | 0
60 | Capitalized Financial Costs | 2494804 | 1041421 | 324647 | 193417 | 3 | 1 | 0 | 0
62 | Interest | 2494804 | 1041421 | 324647 | 193417 | 3 | 1 | 0 | 0
70 | Annualized O&M Cost | 6452888 | 2843227 | 731023 | 372154 | 127 | 56 | 14 | 7
71 | O&M Staff | 1004523 | 1004523 | 150510 | 150510 | 19 | 19 | 2 | 2
711 | Operators | 7111 | 7111 | 1231 | 1231 | 0 | 0 | 0 | 0
713 | Security Staff | 997412 | 997412 | 150627 | 150627 | 19 | 19 | 2 | 2
73 | Regulatory Costs | 126 | 28 | 25 | 5 | 0 | 0 | 0 | 0
75 | Capital Plant Expenditures | 5268526 | 1764540 | 693430 | 322013 | 103 | 34 | 13 | 6
752 | Annualized Core Barrel Replacements | 2810087 | 725228 | 551483 | 142327 | 55 | 14 | 10 | 2
753 | Annualized Moderator Replacements | 123331 | 21793 | 17566 | 3104 | 2 | 0 | 0 | 0
754 | Annualized Reflector Replacements | 45549 | 8048 | 5269 | 931 | 0 | 0 | 0 | 0
759 | Annualized Misc. Replacements | 2289558 | 1009469 | 492175 | 309789 | 45 | 19 | 9 | 6
78 | Annualized Decommissioning Cost | 179711 | 74134 | 23719 | 14136 | 3 | 1 | 0 | 0
80 | Annualized Fuel Cost | 5486906 | 2368311 | 608417 | 319191 | 108 | 46 | 12 | 6
82 | Additional Nuclear Fuel | 5486906 | 2368311 | 608417 | 319191 | 108 | 46 | 12 | 6
OCC | Overnight Capital Cost | 144543888 | 60337843 | 18809383 | 11206216 | - | - | - | -
OCC per kW | Overnight Capital Cost per kW | 24090 | 10056 | 3134 | 1867 | - | - | - | -
OCC excl. fuel | Overnight Capital Cost Excluding Fuel | 130477474 | 54266361 | 18775201 | 11271853 | - | - | - | -
OCC excl. fuel per kW | Overnight Capital Cost Excluding Fuel per kW | 21746 | 9044 | 3129 | 1878 | - | - | - | -
TCI | Total Capital Investment | 147038693 | 61379264 | 19134030 | 11399633 | - | - | - | -
TCI per kW | Total Capital Investment per kW | 24506 | 10229 | 3189 | 1899 | - | - | - | -
AC | Annualized Cost | 11939794 | 5211538 | 997395 | 497627 | - | - | - | -
AC per MWh | Annualized Cost per MWh | 235 | 102 | 19 | 9 | - | - | - | -
LCOE | Levelized Cost Of Energy ($/MWh) | 453 | 193 | 42 | 24 | - | - | - | -
LCOH | Levelized Cost Of Heat ($/MWth) | 160 | 68 | 14 | 8 | - | - | - | -

## servicing campus cost estimate
Account | Account Title | Estimated Cost ($ 2025) | Estimated Cost std ($ 2025) | LCOE Contribution ($/MWh)
10 | Capitalized Pre-Construction Costs | 158836468 | 15210490 | 0
11 | Land Cost | 3798376 | 573987 | 0
12 | Site Permits | 3939793 | 617086 | 0
13 | Plant Licensing | 85584393 | 10724195 | 0
14 | Plant Permits | 5067233 | 1042816 | 0
15 | Plant Studies | 60446670 | 11408876 | 0
20 | Capitalized Direct Costs | 18191626899 | 6041882717 | 26
21 | Structures and Improvements | 11602998721 | 6052495053 | 17
211 | Site Preparation/ Yard Work | 37702267 | 5886856 | 0
211.1 | Cleaning and Grubbing | 5527571 | 854156 | 0
211.2 | Stripping Topsoil | 3352069 | 493912 | 0
211.4 | Roads | 9815229 | 4789129 | 0
211.9 | Security Fencing | 19007396 | 2806921 | 0
211.91 | Security Fencing Limited | 377426 | 56838 | 0
211.93 | Security Fencing Protected | 18629970 | 2810473 | 0
214 | Servicing Facilities Structures | 11554696454 | 6054162219 | 17
214.1 | Servicing Building | 1698213199 | 578539702 | 2
214.11 | Servicing Hot Cell Building Structure | 1698213199 | 578539702 | 2
214.2 |  | 27673098 | 10351803 | 0
214.21 | Helium Purification and Storage Building Structure | 27673098 | 10351803 | 0
214.3 | Control Buidlings | 105523431 | 34142641 | 0
214.31 | Local Control Building Structure | 53852431 | 25663740 | 0
214.32 | Remote Control Center Structure | 51670999 | 21941269 | 0
214.4 | Radioactive Waste Processing Building | 42398846 | 16493192 | 0
214.41 | Radioactive Waste Processing Building Structure | 42398846 | 16493192 | 0
214.6 | Used Fuel Storage Pads | 77035356 | 56887153 | 0
214.7 | Rad Waste Storage Warehouses | 9603852522 | 6172284892 | 14
215 | Air Tranport Hangar | 10600000 | 0 | 0
215.1 | Air Transport Hangar | 10600000 | 0 | 0
22 | Main Facilities Estimated As Wholes | 283599743 | 112666517 | 0
221 | Reactor Cask Management Yard and Inspection Shop | 13779997 | 2056178 | 0
222 | Vehicle Depot and Mechanic Shop | 44489525 | 5958612 | 0
224 | Parts Service Center and Warehouse | 22182650 | 11376036 | 0
225 | Administrative Building | 203147570 | 112947241 | 0
23 | Equipment | 5502131335 | 19236301 | 8
23.1 | Servicing Hot Cell | 4173333333 | 0 | 6
23.2 | Helium Purification Equipment | 626804 | 238415 | 0
23.4 | Radioactive Waste Processing Hot Cell | 1060000000 | 0 | 1
23.5 | Local Integrated Control Rooms | 145446983 | 0 | 0
23.6 | Remote Control Rooms | 112290881 | 19243863 | 0
23.8 | Reactor Transport Casks | 10433333 | 0 | 0
28 | Auxiliary Infrastructure Equipment | 802897097 | 65587619 | 1
281 | Emergency Power | 188212195 | 51086336 | 0
282 | Service Air Water Building | 45270900 | 0 | 0
283 | Fire Station | 43630650 | 0 | 0
284 | Security Building | 10991433 | 4180713 | 0
285 | Switchyard | 180476662 | 26242288 | 0
286 | Onsite Transport Equipment | 5160008 | 807410 | 0
286.1 | Local Reactor Transport Vehicles | 2221379 | 472684 | 0
286.2 | Utility Vehicles | 2938628 | 618142 | 0
287 | Offsite Transport Equipment | 218061140 | 31212519 | 0
287.1 | Reactor Transport Vehicles | 19862066 | 4717563 | 0
287.2 | Helium Transport Trucks | 42524707 | 9067821 | 0
287.3 | Water Tanker Trucks | 24795162 | 5393237 | 0
287.4 | Maintenance Trucks | 7825998 | 1740032 | 0
287.5 | Air Transport Equipment | 123053204 | 29726486 | 0
287.51 | Heavy Lift Helicopters | 121851712 | 29734373 | 0
287.52 | Aircraft Maintenance Equipment | 1201492 | 254388 | 0
288 | Dispered Infrastructure | 111094107 | 11855464 | 0
288.1 | Communication | 10435955 | 1509234 | 0
288.2 | Security Cameras | 28785820 | 7069531 | 0
288.3 | Motion Detectors | 38723609 | 7827472 | 0
288.4 | Guard Station | 30804415 | 6604616 | 0
288.5 | Radiation Monitors | 2344307 | 560691 | 0
30 | Capitalized Indirect Services Cost | 9095813449 | 3020941358 | 13
40 | Capitalized training costs | 339310 | 77371 | 0
41 | staff recruitment and training | 339310 | 77371 | 0
60 | Capitalized Financial Costs | 1480636146 | 488849665 | 2
62 | Interest | 1480636146 | 488849665 | 2
70 | Annualized O&M Cost | 3568490834 | 776894246 | 70
71 | O&M Staff | 1981248136 | 751135176 | 39
711 | Operators | 817030 | 305229 | 0
712 | Remote Monitoring Technicians | 70610084 | 26510363 | 1
713 | Security Staff | 37738091 | 11849371 | 0
714 | Maintenance Staff | 1585275415 | 691613680 | 31
715 | Engineering Staff | 114918406 | 19124246 | 2
716 | Continuing Education and Staff Retraining | 36187180 | 13719363 | 0
717 | Management Staff | 135701927 | 51447614 | 2
74 | Fixed O&M Utilities and Materials | 1587242698 | 133706431 | 31
741 | Operating Chemicals and Lubricants | 90958134 | 30209413 | 1
742 | Spare Parts | 297033827 | 3228447 | 5
743 | Utilities except electricity, Supplies, and Consumables | 181916268 | 60418827 | 3
744 | Electricity | 136317621 | 20952843 | 2
747.1 | Annualized Transportation Costs | 28495411 | 4525946 | 0
747.2 | Annualized Cask Replacements | 305665614 | 19405324 | 6
747.21 | Used Fuel Cask | 153221188 | 18061201 | 3
747.22 | Reactor Transport Cask | 68163494 | 0 | 1
747.23 | Radwaste Storage Cask | 84280931 | 7992265 | 1
747.3 | Annualized Helium Replenishment | 6189877 | 931297 | 0
747.4 | Annualized Other Supplies and Utilities | 90958134 | 30209413 | 1
747.5 | Servicing Vehicle O&M | 449707807 | 52273197 | 8
747.51 | Reactor Transport Vehicles O&M | 158314081 | 35814169 | 3
747.52 | Helium Transport Trucks O&M | 109979625 | 26823335 | 2
747.53 | Water Tanker Trucks O&M | 101531620 | 23415580 | 2
747.54 | Maintenance Trucks O&M | 79882479 | 19369380 | 1
OCC | Overnight Capital Cost | 27446616127 | 9061827336
OCC per reactor | Overnight Capital Cost per Operating Reactor | 28412646 | 9380773
TCI | Total Capital Investment | 28927252273 | 9550677001
TCI per reactor | Total Capital Investment per Operating Reactor | 29945395 | 9886829
Annual Cost | Annual Servicing Campus Cost | 3568490834 | 776894246
Annual Cost per reactor | Annual Servicing Campus Cost per Operating Reactor | 3694089 | 804238
LCOE | Servicing Campus Contribution to Fleet LCOE ($/MWh) | 113 | 23

## manufacturing campus cost estimate
Account | Account Title | Estimated Cost ($ 2025) | Estimated Cost std ($ 2025) | LCOE Contribution ($/MWh)
10 | Capitalized Pre-Construction Costs | 150389090 | 15167413 | 0
11 | Land Cost | 276183 | 46208 | 0
12 | Site Permits | 17826 | 2915 | 0
13 | Plant Licensing | 86337598 | 10959906 | 0
14 | Plant Permits | 5024306 | 1075314 | 0
15 | Plant Studies | 58733175 | 12065050 | 0
20 | Capitalized Direct Costs | 267632961 | 26064048 | 0
21 | Structures and Improvements | 30637969 | 4899077 | 0
211 | Site Preparation/ Yard Work | 29382631 | 4925347 | 0
211.1 | Cleaning and Grubbing | 416931 | 67800 | 0
211.2 | Stripping Topsoil | 246604 | 37666 | 0
211.4 | Roads | 9721196 | 3811078 | 0
211.9 | Security Fencing | 18997899 | 2798935 | 0
211.91 | Security Fencing Limited | 375748 | 54663 | 0
211.93 | Security Fencing Protected | 18622150 | 2804810 | 0
214 | Servicing Facilities Structures | 1255337 | 396470 | 0
214.3 | Control Buidlings | 1255337 | 396470 | 0
214.31 | Local Control Buidling Structure | 1255337 | 396470 | 0
22 | Main Facilities Estimated As Wholes | 158642745 | 25314188 | 0
221 | Manufacturing Building | 48322816 | 11789886 | 0
222 | Fueling Building | 25532895 | 6226247 | 0
223 | Testing Building | 28908777 | 3761876 | 0
224 | Warehouse | 14412942 | 6339084 | 0
225 | Administrative Building | 41465313 | 20104961 | 0
23 | Equipment | 18155636 | 0 | 0
23.5 | Local Integrated Control Rooms | 18155636 | 0 | 0
28 | Auxiliary Infrastructure Equipment | 60196609 | 4421024 | 0
281 | Emergency Power | 17497370 | 0 | 0
283 | Fire Station | 14543550 | 0 | 0
284 | Security Building | 11145693 | 4171736 | 0
285 | Switchyard | 2548228 | 1051465 | 0
286 | Onsite Transport Equipment | 2408374 | 563254 | 0
286.1 | Local Reactor Transport Vehicles | 2231266 | 563071 | 0
286.2 | Utility Vehicles | 177107 | 39442 | 0
288 | Dispered Infrastructure | 12053393 | 0 | 0
288.1 | Communication | 747679 | 0 | 0
288.2 | Security Cameras | 1933307 | 0 | 0
288.3 | Motion Detectors | 2598156 | 0 | 0
288.4 | Guard Station | 6774250 | 0 | 0
30 | Capitalized Indirect Services Cost | 133816480 | 13032024 | 0
40 | Capitalized training costs | 341879 | 69061 | 0
41 | staff recruitment and training | 341879 | 69061 | 0
60 | Capitalized Financial Costs | 29787944 | 2140076 | 0
62 | Interest | 29787944 | 2140076 | 0
70 | Annualized O&M Cost | 46477842 | 4919193 | 0
71 | O&M Staff | 21613388 | 4248026 | 0
711 | Operators (Testing Only) | 1610267 | 312465 | 0
712 | Warehouse Staff | 750403 | 165854 | 0
713 | Security Staff | 5267938 | 908268 | 0
714 | Maintenance Staff | 1047882 | 163344 | 0
715 | Engineering Staff (Testing Only) | 1796235 | 279756 | 0
716 | Continuing Education and Staff Retraining | 209454 | 20071 | 0
717 | Management Staff | 785454 | 75266 | 0
718 | Manfuacturing Building Staff | 6843587 | 3853384 | 0
719 | Fueling Building Staff | 3302164 | 1913346 | 0
74 | Fixed O&M Utilities and Materials | 24864453 | 2117699 | 0
741 | Operating Chemicals and Lubricants (Except Manufacturing and Fueling) | 1338164 | 130320 | 0
742 | Spare Parts (Except Manufacturing and Fueling) | 13381648 | 1303202 | 0
743 | Utilities except electricity, Supplies, and Consumables | 2676329 | 260640 | 0
744 | Electricity | 1219232 | 204910 | 0
745 | Manufacturing Building Equipment | 902181 | 388781 | 0
746 | Fueling Building Equipment | 210602 | 98546 | 0
747 | Other annual costs | 5136294 | 548023 | 0
747.1 | Annualized Transportation Costs | 869807 | 84708 | 0
747.3 | Annualized Helium Replenishment | 2928323 | 461820 | 0
747.4 | Annualized Other Supplies and Utilities | 1338164 | 130320 | 0
OCC | Overnight Capital Cost | 552180412 | 39670688
OCC per reactor | Overnight Capital Cost per Manufactured Reactor | 552180 | 39670
TCI | Total Capital Investment | 581968356 | 41810764
TCI per reactor | Total Capital Investment per Manufactured Reactor | 581968 | 41810
Annual Cost | Annual Manufacturing Campus Cost During Deployment | 46477842 | 4919193
Annual Cost per reactor | Annual Manufacturing Cost per Reactor Produced | 464778 | 49191
LCOE | Manufacturing Campus Contribution to Fleet LCOE ($/MWh) | 1 | 0

## fleet total cost estimate
Account | Account Title | Units | Reactor Fleet | Reactor Fleet std | Manufacturing Campus | Manufacturing Campus std | Servicing Campus | Servicing Campus std | Total Fleet | Total Fleet std
10 | Capitalized Pre-Construction Costs | $ 2025 | 17383432221 | 2050173318 | 150389090 | 15167414 | 158836468 | 15210490 | 17692657780 | 2050786407
20 | Capitalized Direct Costs | $ 2025 | 38799762996 | 10233034495 | 267632962 | 26064049 | 18191626899 | 6041882718 | 57259022856 | 11908710789
30 | Capitalized Indirect Services Cost | $ 2025 | 3982699833 | 647135401 | 133816481 | 13032024 | 9095813450 | 3020941359 | 13212329763 | 3021336555
40 | Capitalized Training Costs | $ 2025 | 171948115 | 44672537 | 341879 | 69061 | 339310 | 77371 | 172629305 | 44668934
60 | Capitalized Financial Costs | $ 2025 | 1041421672 | 193417528 | 29787944 | 2140076 | 1480636146 | 488849665 | 2551845762 | 524500215
70 | Annualized O&M Cost (Full-Fleet Deployment-Year Basis) | $ 2025 | 2843227484 | 372154633 | 46477842 | 4919193 | 3568490835 | 776894247 | 6458196161 | 842103305
80 | Annualized Fuel Cost | $ 2025 | 2368311462 | 319191030 | 0 | 0 | 0 | 0 | 2368311462 | 319191030
OCC | Overnight Capital Cost | $ 2025 | 60337843165 | 11206216272 | 552180412 | 39670688 | 27446616127 | 9061827336 | 88336639705 | 14369940209
OCC per reactor | Overnight Capital Cost per Reactor | $ 2025/reactor | 60337843 | 11206216 | 552180 | 39671 | 27446616 | 9061827 | 88336640 | 14369940
TCI | Total Capital Investment | $ 2025 | 61379264837 | 11399633800 | 581968357 | 41810765 | 28927252273 | 9550677002 | 90888485467 | 14828229957
TCI per reactor | Total Capital Investment per Reactor | $ 2025/reactor | 61379265 | 11399634 | 581968 | 41811 | 28927252 | 9550677 | 90888485 | 14828230
Annual Cost During Deployment | Full-Fleet Annual Cost During Deployment | $ 2025/year | 5211538946 | 497627051 | 46477842 | 4919193 | 3568490835 | 776894247 | 8826507623 | 905690894
Annual Cost per reactor During Deployment | Full-Fleet Annual Cost per Reactor During Deployment | $ 2025/reactor-year | 5211539 | 497627 | 46478 | 4919 | 3568491 | 776894 | 8826508 | 905691
Steady-State Annual Cost | Full-Fleet Steady-State Annual Cost After Deployment | $ 2025/year | 5211538946 | 497627051 | 0 | 0 | 3568490835 | 776894247 | 8780029781 | 905824521
Steady-State Annual Cost per reactor | Full-Fleet Steady-State Annual Cost per Reactor After Deployment | $ 2025/reactor-year | 5211539 | 497627 | 0 | 0 | 3568491 | 776894 | 8780030 | 905825
LCOE | Total Fleet Levelized Cost of Electricity | $/MWh | 193.76 | 24.04 | 1.92 | 0.14 | 146.15 | 32.32 | 341.82 | 39.48

## fleet annual cash flow
Year | Reactors Manufactured | Operating Reactors | Reactors Retiring at Year End | Servicing Events | Fleet Electricity Generation (MWh) | Reactor TCI Deployed | Reactor TCI Deployed std | Reactor Annual Cost | Reactor Annual Cost std | Manufacturing Campus TCI | Manufacturing Campus TCI std | Manufacturing Campus Annual Cost | Manufacturing Campus Annual Cost std | Servicing Campus TCI | Servicing Campus TCI std | Servicing Campus Annual Cost | Servicing Campus Annual Cost std | Total Fleet Cost | Total Fleet Cost std | Discount Factor | Discounted Fleet Cost | Discounted Fleet Cost std | Discounted Fleet Generation (MWh)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 581968357 | 41810765 | 0 | 0 | 28927252273 | 9550677002 | 0 | 0 | 29509220630 | 9545804504 | 1 | 29509220630 | 9545804504 | 0
1 | 100 | 0 | 0 | 0 | 0 | 6137926484 | 1139963380 | 0 | 0 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 0 | 0 | 6184404326 | 1139919168 | 0.93458 | 5779817127 | 1065345017 | 0
2 | 100 | 100 | 0 | 0 | 5065920 | 6137926484 | 1139963380 | 521153895 | 49762705 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2522164911 | 775348376 | 9227723131 | 1325768663 | 0.87344 | 8059850756 | 1157977695 | 4424771
3 | 100 | 200 | 0 | 0 | 10131840 | 6137926484 | 1139963380 | 1042307789 | 99525410 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2557292062 | 775821448 | 9784004177 | 1352373498 | 0.8163 | 7986661837 | 1103939615 | 8270599
4 | 100 | 300 | 0 | 0 | 15197760 | 6137926484 | 1139963380 | 1563461684 | 149288115 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2592173812 | 776318709 | 10340039821 | 1380247170 | 0.7629 | 7888366872 | 1052983958 | 11594298
5 | 100 | 400 | 0 | 100 | 20263680 | 6137926484 | 1139963380 | 2084615579 | 199050820 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2861369358 | 775872388 | 11130389263 | 1407797729 | 0.71299 | 7935813717 | 1003740324 | 14447724
6 | 100 | 500 | 0 | 100 | 25329600 | 6137926484 | 1139963380 | 2605769473 | 248813525 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2902133629 | 776566468 | 11692307428 | 1438008934 | 0.66634 | 7791078133 | 958206071 | 16878182
7 | 100 | 600 | 0 | 100 | 30395520 | 6137926484 | 1139963380 | 3126923368 | 298576230 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 2936667443 | 777144907 | 12247995136 | 1469305553 | 0.62275 | 7627435810 | 915009654 | 18928802
8 | 100 | 700 | 0 | 200 | 35461440 | 6137926484 | 1139963380 | 3648077262 | 348338936 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 3130606701 | 776988638 | 12963088289 | 1500634240 | 0.58201 | 7544635407 | 873382790 | 20638881
9 | 100 | 800 | 0 | 200 | 40527360 | 6137926484 | 1139963380 | 4169231157 | 398101641 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 3165011600 | 777624217 | 13518647082 | 1533891522 | 0.54393 | 7353248302 | 834335356 | 22044199
10 | 100 | 900 | 0 | 200 | 45593280 | 6137926484 | 1139963380 | 4690385052 | 447864346 | 0 | 0 | 46477842 | 4919193 | 0 | 0 | 3199365611 | 778293168 | 14074154989 | 1568025458 | 0.50835 | 7154586726 | 797104631 | 23177312
11 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.47509 | 4089193901 | 430963063 | 24067821
12 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.44401 | 3821676543 | 402769218 | 22493291
13 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.41496 | 3571660321 | 376419830 | 21021767
14 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.38782 | 3394253253 | 351649655 | 19646511
15 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.36245 | 3119626448 | 328779657 | 18361225
16 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.33873 | 2915538737 | 307270708 | 17160024
17 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.31657 | 2770721724 | 287050867 | 16037405
18 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.29586 | 2546544447 | 268382136 | 14988229
19 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.27651 | 2379948081 | 250824426 | 14007691
20 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.25842 | 2261734261 | 234319013 | 13091300
21 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.24151 | 2078738825 | 219079768 | 12234860
22 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.22571 | 1942746566 | 204747447 | 11434448
23 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.21095 | 1846248875 | 191274113 | 10686400
24 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.19715 | 1696870090 | 178834350 | 9987290
25 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.18425 | 1585859897 | 167134906 | 9333916
26 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.1722 | 1507089037 | 156136652 | 8723286
27 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.16093 | 1385151451 | 145982100 | 8152604
28 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.1504 | 1294534067 | 136431869 | 7619256
29 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.14056 | 1230233581 | 127454018 | 7120800
30 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.13137 | 1130696189 | 119164878 | 6654953
31 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.12277 | 1056725410 | 111369045 | 6219582
32 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.11474 | 1004237060 | 104040444 | 5812694
33 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.10723 | 922984898 | 97274037 | 5432424
34 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.10022 | 862602709 | 90910315 | 5077032
35 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.093663 | 819756580 | 84927994 | 4744890
36 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.087535 | 753430613 | 79404590 | 4434476
37 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.081809 | 704140760 | 74209897 | 4144370
38 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.076457 | 669165556 | 69326541 | 3873243
39 | 0 | 1000 | 0 | 300 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3395608820 | 778348841 | 8607147766 | 907113445 | 0.071455 | 615023810 | 64817798 | 3619854
40 | 0 | 1000 | 0 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.06678 | 584475112 | 60552486 | 3383041
41 | 0 | 1000 | 100 | 400 | 50659200 | 0 | 0 | 5211538946 | 497627051 | 0 | 0 | 0 | 0 | 0 | 0 | 3540658981 | 777605483 | 8752197928 | 906740644 | 0.062412 | 546238423 | 56591108 | 3161720
42 | 0 | 900 | 100 | 300 | 45593280 | 0 | 0 | 4690385052 | 447864346 | 0 | 0 | 0 | 0 | 0 | 0 | 3355154694 | 777487107 | 8045539746 | 881942743 | 0.058329 | 469284837 | 51442460 | 2659391
43 | 0 | 800 | 100 | 300 | 40527360 | 0 | 0 | 4169231157 | 398101641 | 0 | 0 | 0 | 0 | 0 | 0 | 3320800683 | 776825152 | 7490031840 | 858993622 | 0.054513 | 408301733 | 46826047 | 2209255
44 | 0 | 700 | 100 | 300 | 35461440 | 0 | 0 | 3648077262 | 348338936 | 0 | 0 | 0 | 0 | 0 | 0 | 3286395784 | 776196647 | 6934473046 | 838382735 | 0.050946 | 353286666 | 42712610 | 1806634
45 | 0 | 600 | 100 | 200 | 30395520 | 0 | 0 | 3126923368 | 298576230 | 0 | 0 | 0 | 0 | 0 | 0 | 3096142830 | 776386123 | 6223066198 | 820877354 | 0.047613 | 296301892 | 39084835 | 1447237
46 | 0 | 500 | 100 | 200 | 25329600 | 0 | 0 | 2605769473 | 248813525 | 0 | 0 | 0 | 0 | 0 | 0 | 3061609017 | 775816226 | 5667378490 | 805493479 | 0.044499 | 252190338 | 35843322 | 1127131
47 | 0 | 400 | 100 | 200 | 20263680 | 0 | 0 | 2084615579 | 199050820 | 0 | 0 | 0 | 0 | 0 | 0 | 3020844746 | 775131823 | 5105460325 | 792842065 | 0.041587 | 212323153 | 32972292 | 842715
48 | 0 | 300 | 100 | 100 | 15197760 | 0 | 0 | 1563461684 | 149288115 | 0 | 0 | 0 | 0 | 0 | 0 | 2826639954 | 775359647 | 4390101638 | 783928758 | 0.038867 | 170629157 | 30468794 | 590688
49 | 0 | 200 | 100 | 100 | 10131840 | 0 | 0 | 1042307789 | 99525410 | 0 | 0 | 0 | 0 | 0 | 0 | 2791758204 | 774875740 | 3834065993 | 777446390 | 0.036324 | 139269006 | 28240042 | 368030
50 | 0 | 100 | 100 | 0 | 5065920 | 0 | 0 | 521153895 | 49762705 | 0 | 0 | 0 | 0 | 0 | 0 | 2522164911 | 775348376 | 3043318805 | 775040097 | 0.033948 | 103313855 | 26310875 | 171977

## Parameters
Group | Parameter | Value | Units | Description | Source
--- SETTINGS ---
Settings | cross_sections_xml_location | /projects/MRP_MOUSE/openmc_data/endfb-viii.0-hdf5/cross_sections.xml |  | File path to the OpenMC cross sections XML file on HPC | User Input
Settings | plotting | Y |  | Whether to generate and save geometry plots (Y = yes, N = no) | User Input
Settings | simplified_chain_thermal_xml | /projects/MRP_MOUSE/openmc_data/simplified_thermal_chain11.xml |  | File path to the simplified depletion chain XML file for thermal reactors | User Input
--- MATERIALS ---
Materials | Axial Reflector | Graphite |  | Axial reflector material type — may differ from radial reflector | User Input
Materials | Common Temperature | 850 | K | Uniform operating temperature applied to all materials in isothermal simulations | User Input
Materials | Control Drum Absorber | B4C_enriched |  | Neutron absorber material in the control drums (e.g. B4C_enriched, B4C_natural) | User Input
Materials | Control Drum Reflector | Graphite |  | Reflector material in the control drums (e.g. Graphite) | User Input
Materials | Coolant | Helium |  | Primary coolant material type (e.g. NaK, Helium) | User Input
Materials | Enrichment | 0.12 | fraction | Uranium-235 enrichment fraction (0 to 1) | User Input
Materials | Fuel | UCO |  | Primary fuel material type (e.g. TRIGA_fuel, UO2, UN, UC, homog_TRISO) | User Input
Materials | Graphite Linear Expansion Coefficient | 4.3e-06 | 1/K | Mean linear thermal-expansion coefficient used to adjust GCMR graphite number density in density-aware temperature-coefficient cases. | User Input; IG-110 proxy from ORNL/TM-2017/705, Table 2.2, page 3
Materials | HX Material | SS316 |  | Heat exchanger structural material (e.g. SS316) | User Input
Materials | Matrix Material | Graphite |  | Background matrix material surrounding TRISO particles in the fuel compact | User Input
Materials | Moderator | Graphite |  | Neutron moderator material type (e.g. ZrH, Graphite, monolith_graphite) | User Input
Materials | Moderator Booster Materials | ['ZrH'] |  | List of moderator booster material names, from innermost to outermost region (e.g. ['ZrH'] or ['ZrH', 'Graphite']) | User Input
Materials | Radial Reflector | Graphite |  | Radial reflector material type (e.g. Graphite, BeO) | User Input
Materials | Shutdown Rod Absorber | B4C_enriched |  | Neutron absorber material used in the movable shutdown rods | User Input
Materials | Shutdown Rod Cladding | SS304 |  | Cladding material that moves with each shutdown-rod absorber | User Input
Materials | TRISO Fueled | Yes |  | Whether the reactor uses TRISO fuel particles (Yes or No) | User Input
Materials | UO2 atom fraction | 0.7 | fraction | Atom fraction of UO2 in the UCO mixed fuel (remainder is UC) | User Input
Materials | reactor type | GCMR |  | Reactor type identifier: LTMR (liquid metal thermal), GCMR (gas-cooled), or HPMR (heat pipe) | User Input
--- GEOMETRY ---
Geometry | Active Height | 180 | cm | Axial height of the active fuel region | User Input
Geometry | Assembly FTF | 19.4856 | cm | Assembly flat-to-flat distance (distance between opposite parallel faces of the hexagonal assembly). | User Input or Calculated
Geometry | Assembly Rings | 6 |  | Number of hexagonal lattice rings in one fuel assembly (GCMR) | User Input
Geometry | Axial Reflector Thickness | 9.7428 | cm | Thickness of each axial neutron reflector (top and bottom) | User Input
Geometry | Central Shutdown Rod Clad Radius | 1.05 | cm | Outer SS304 cladding radius for each shutdown rod in the central GCMR assembly. | User Input
Geometry | Central Shutdown Rod Count | 12 | rods | Number of shutdown rods in the central GCMR assembly. | User Input
Geometry | Central Shutdown Rod Radius | 0.85 | cm | B4C absorber radius for each shutdown rod in the central GCMR assembly. | User Input
Geometry | Central Shutdown Rod Ring | 2 |  | Hexagonal pin-lattice ring containing the central-assembly shutdown rods. | User Input
Geometry | Compact Fuel Radius | 0.6225 | cm | Radius of the cylindrical fuel compact region containing TRISO particles | User Input
Geometry | Coolant Channel Radius | 0.35 | cm | Radius of the coolant channels in the GCMR assembly | User Input
Geometry | Core Radius | 107.1706 | cm | Total core radius including the radial reflector | User Input or Calculated
Geometry | Core Rings | 5 |  | Number of assembly rings along the side of the hexagonal core (GCMR) | User Input
Geometry | Fuel Pin Materials | ['UCO', 'buffer_graphite', 'PyC', 'SiC', 'PyC'] |  | Ordered list of materials for each fuel pin region from innermost to outermost | User Input
Geometry | Fuel Pin Radii | [0.025, 0.035, 0.039, 0.0425, 0.0465] | cm | Ordered list of radii defining fuel pin region boundaries from innermost to outermost | User Input
Geometry | Lattice Pitch | 2.25 | cm | Center-to-center distance between adjacent lattice positions | User Input
Geometry | Moderator Booster Radii | [0.5] | cm | List of cumulative outer radii for moderator booster pin regions, innermost first (e.g. [0.55] or [0.40, 0.55]) | User Input
Geometry | Number of Shutdown Rods | 24 |  | Total shutdown-rod count. LTMR accepts user-selected 6- or 12-rod predefined layouts; GCMR calculates the total from the central and surrounding assembly inputs. | User Input or Calculated
Geometry | Packing Fraction | 0.4 | fraction | Volume fraction of TRISO particles within the fuel compact | User Input
Geometry | Radial Reflector Thickness | 9.7428 | cm | Thickness of the radial neutron reflector surrounding the active core | User Input
Geometry | Shutdown Rod Height | 180 | cm | Physical height of each LTMR shutdown rod; defaults to the active core height in the example input | User Input
Geometry | Surrounding Shutdown Assembly Count | 6 | assemblies | Number of first-ring GCMR assemblies containing the smaller surrounding shutdown rods. | User Input
Geometry | Surrounding Shutdown Rod Clad Radius | 0.65 | cm | Outer SS304 cladding radius for each shutdown rod in a surrounding GCMR shutdown assembly. | User Input
Geometry | Surrounding Shutdown Rod Count | 2 | rods per assembly | Number of shutdown rods in each surrounding GCMR shutdown assembly. | User Input
Geometry | Surrounding Shutdown Rod Radius | 0.45 | cm | B4C absorber radius for each shutdown rod in a surrounding GCMR shutdown assembly. | User Input
Geometry | Surrounding Shutdown Rod Ring | 2 |  | Hexagonal pin-lattice ring containing shutdown rods in each surrounding shutdown assembly. | User Input
Geometry | TRISO Packing Seed | 1 |  | Deterministic random seed used by OpenMC when packing TRISO particles in the representative fuel compact. | User Input
--- CONTROL DRUMS ---
Control Drums | All Drum Tubes Area | 7156.9408 | cm² | Total cross-sectional area removed from the reflector by all control-drum tubes, including clearance around each physical drum | Calculated
Control Drums | All Drums Area | 6849.1517 | cm² | Total cross-sectional area of all control drums | Calculated
Control Drums | All Drums Volume | 1366306.9464 | cm³ | Total volume of all control drums combined | Calculated
Control Drums | Control Drum Absorber Mass | 228.2007 | kg | Total mass of absorber material in all control drums | Calculated
Control Drums | Control Drum Reflector Mass | 2041.2018 | kg | Total mass of reflector material in all control drums | Calculated
Control Drums | Control Drums Mass | 2269.4025 | kg | Total combined mass of all control drums (absorber + reflector) | Calculated
Control Drums | Drum Absorber Arc Degrees | 120 | degrees | Angular span of the absorber arc on each control drum; used by both OpenMC geometry and material inventory calculations | User Input
Control Drums | Drum Absorber Thickness | 1 | cm | Thickness of the absorber arc section within each control drum | User Input
Control Drums | Drum Count | 24 |  | Total number of control drums in the core; explicit and validated against the GCMR lattice. | User Input or Calculated
Control Drums | Drum Height | 199.4856 | cm | Height of the control drums (typically active height + 2x axial reflector thickness) | User Input
Control Drums | Drum Radius | 9.531 | cm | Outer radius of each control drum. If not specified, it is automatically set to the largest allowable value that avoids drum overlap. | User Input
Control Drums | Drum Tube Radius | 9.7428 | cm | Outer radius of the control drum tube. It is explicit and validated for the GCMR example and may be calculated for other models. | User Input or Calculated
--- CORE DESIGN ---
Core Design | Axial Reflector Mass | 901.8225 | kg | Total mass of both axial reflectors (top and bottom combined) | Calculated
Core Design | Axial Reflector Volume | 563639.0381 | cm³ | Combined volume of both LTMR axial reflectors, excluding control-drum tubes | Calculated
Core Design | GCMR Fuel Compact Count | 3697 | compacts | Number of GCMR fuel-compact positions remaining after shutdown-rod channels replace fuel positions | Calculated
Core Design | Moderator Booster Mass | 1216.0226 | kg | Total mass of moderator booster material in the core (GCMR) | Calculated
Core Design | Moderator Mass | 3669.0475 | kg | Total mass of the neutron moderator material in the core | Calculated
Core Design | Moderator Total Area | 12739.7482 | cm² | Total cross-sectional area occupied by moderator material in the core | Calculated
Core Design | Number Of TRISO Particles Per Compact Fuel | 208119 |  | Number of TRISO particles per fuel compact element | Calculated
Core Design | Radial Reflector Mass | 2553.9865 | kg | Total mass of the radial neutron reflector | Calculated
Core Design | Radial Reflector Volume | 1596241.5607 | cm³ | LTMR radial reflector volume over the active core height, excluding the hexagonal core and control-drum tubes | Calculated
Core Design | Shutdown Rod Absorber Mass | 15.8178 | kg | Total B4C absorber mass in all shutdown rods | Calculated
Core Design | Shutdown Rod Absorber Volume | 6276.9021 | cm³ | Total B4C absorber volume in all shutdown rods | Calculated
Core Design | Shutdown Rod Cladding Mass | 32.4906 | kg | Total cladding mass in all shutdown rods | Calculated
Core Design | Shutdown Rod Cladding Volume | 4071.5041 | cm³ | Total cladding volume in all shutdown rods | Calculated
Core Design | Shutdown Rods Mass | 48.3084 | kg | Combined absorber and cladding mass of all shutdown rods | Calculated
Core Design | Total Number of TRISO Particles | 769415943 |  | Total number of TRISO particles in the entire core | Calculated
--- OVERALL SYSTEM ---
Overall System | Burnup Steps | [0.1, 0.2, 0.5, 1.0, 2.0, 5.0, 10.0, 15.0, 20.0, 30.0, 40.0, 50.0, 60.0, 80.0, 100.0, 120.0] | MWd/kg | Cumulative burnup values at each depletion time step | User Input
Overall System | Heat Flux | 0.024822 | MW/m² | Calculated average fuel surface heat flux at full power | Calculated
Overall System | Heat Flux Criteria | 0.9 | MW/m² | Maximum allowable fuel surface heat flux (design constraint) | User Input
Overall System | Power MWe | 6 | MWe | Reactor net electric power output (thermal power × thermal efficiency) | Calculated
Overall System | Power MWt | 15 | MWt | Reactor thermal power output | User Input
Overall System | Thermal Efficiency | 0.4 | fraction | Net thermal-to-electric conversion efficiency of the power conversion system | User Input
--- PHYSICS RESULTS ---
Physics Results | Fuel Lifetime | 1035 | days | Estimated fuel cycle length — time for the 3D-corrected keff to fall to 1.0 | Calculated
Physics Results | Fuel Tail Waste Mass | 12593.7768 | kg | Mass of depleted uranium tails produced during the enrichment process | Calculated
Physics Results | Mass U235 | 61674.4456 | g | Initial mass of U-235 in the fresh fuel load | Calculated
Physics Results | Mass U238 | 451446.6629 | g | Initial mass of U-238 in the fresh fuel load | Calculated
Physics Results | Natural Uranium Mass | 13106.8979 | kg | Mass of natural uranium feed required to produce the enriched fuel | Calculated
Physics Results | SWU | 12005.3089 | kg-SWU | Separative work units required to produce the enriched fuel | Calculated
Physics Results | Uranium Mass | 513.1211 | kg | Total initial uranium mass in the fresh fuel load (U-235 + U-238) | Calculated
--- PRIMARY LOOP & BALANCE OF PLANT ---
Primary Loop & Balance of Plant | BoP Count | 2 |  | Number of Balance of Plant (power conversion) systems | User Input
Primary Loop & Balance of Plant | BoP Power kWe | 3000 | kWe | Electric power handled by each BoP system | Calculated
Primary Loop & Balance of Plant | BoP per loop load fraction | 0.5 | fraction | Fraction of total electric load handled by each BoP system | User Input
Primary Loop & Balance of Plant | Compressor Isentropic Efficiency | 0.8 | fraction | Isentropic efficiency of the gas compressor (GCMR) | User Input
Primary Loop & Balance of Plant | Compressor Pressure Ratio | 4 |  | Compressor pressure ratio for gas-cooled reactor (GCMR) | User Input
Primary Loop & Balance of Plant | Coolant Mass Flow Rate | 11.554 | kg/s | Total primary coolant mass flow rate | Calculated
Primary Loop & Balance of Plant | Integrated Heat Transfer Vessel Material | SA508 |  | Material of the integrated heat transfer vessel (GCMR) | User Input
Primary Loop & Balance of Plant | Integrated Heat Transfer Vessel Thickness | 0 | cm | Wall thickness of the integrated heat transfer vessel (GCMR, 0 if none) | User Input
Primary Loop & Balance of Plant | Primary HX Mass | 1507.4142 | kg | Calculated mass of the primary heat exchanger | Calculated
Primary Loop & Balance of Plant | Primary Loop Compressor Power | 108437.0872 | W | Mechanical power required to drive the primary loop gas compressor (GCMR) | Calculated
Primary Loop & Balance of Plant | Primary Loop Count | 2 |  | Number of primary coolant loops | User Input
Primary Loop & Balance of Plant | Primary Loop Inlet Temperature | 573.15 | K | Primary coolant temperature at the core inlet | User Input
Primary Loop & Balance of Plant | Primary Loop Mass Flow Rate | 5.777 | kg/s | Coolant mass flow rate per primary loop | Calculated
Primary Loop & Balance of Plant | Primary Loop Outlet Temperature | 823.15 | K | Primary coolant temperature at the core outlet | User Input
Primary Loop & Balance of Plant | Primary Loop Pressure Drop | 50000 | Pa | Pressure drop across the primary coolant loop | User Input
Primary Loop & Balance of Plant | Primary Loop Purification | FALSE |  | Whether primary coolant purification is used (reduces coolant replacement frequency) | User Input
Primary Loop & Balance of Plant | Primary Loop per loop load fraction | 0.5 | fraction | Fraction of total thermal load handled by each primary coolant loop | User Input
Primary Loop & Balance of Plant | Secondary HX Mass | 0 | kg | Mass of the secondary heat exchanger (0 if none) | User Input
Primary Loop & Balance of Plant | Secondary Loop Inlet Temperature | 543.15 | K | Secondary loop coolant temperature at the heat exchanger inlet | User Input
Primary Loop & Balance of Plant | Secondary Loop Outlet Temperature | 773.15 | K | Secondary loop coolant temperature at the heat exchanger outlet | User Input
--- SHIELDING ---
Shielding | In Vessel Shield Inner Radius | 107.1706 | cm | Inner radius of the in-vessel radiation shield (equal to core radius) | User Input
Shielding | In Vessel Shield Mass | 0 | kg | Total mass of the in-vessel radiation shield | Calculated
Shielding | In Vessel Shield Material | B4C_natural |  | Material of the in-vessel radiation shield | User Input
Shielding | In Vessel Shield Outer Radius | 107.1706 | cm | Outer radius of the in-vessel radiation shield | Calculated
Shielding | In Vessel Shield Thickness | 0 | cm | Thickness of the in-vessel radiation shield (0 if none) | User Input
Shielding | Out Of Vessel Shield Effective Density Factor | 0.5 | fraction | Effective density factor for the out-of-vessel shield — accounts for partial fill (e.g. 0.5 = 50% fill) | User Input
Shielding | Out Of Vessel Shield Mass | 6150.8182 | kg | Total mass of the out-of-vessel radiation shield | Calculated
Shielding | Out Of Vessel Shield Material | WEP |  | Material of the out-of-vessel radiation shield | User Input
Shielding | Out Of Vessel Shield Thickness | 39.37 | cm | Thickness of the out-of-vessel radiation shield | User Input
Shielding | Outer Shield Inner Radius | 120.6706 | cm | Inner radius of the out-of-vessel shield | Calculated
Shielding | Outer Shield Outer Radius | 160.0406 | cm | Outer radius of the out-of-vessel shield (outermost boundary of the shielded assembly) | Calculated
--- VESSELS ---
Vessels | Cooling Vessel Mass | 1006.7528 | kg | Total mass of the cooling vessel | Calculated
Vessels | Cooling Vessel Material | stainless_steel |  | Structural material of the cooling vessel | User Input
Vessels | Cooling Vessel Radius | 115.1706 | cm | Outer radius of the cooling vessel | Calculated
Vessels | Cooling Vessel Thickness | 0.5 | cm | Wall thickness of the cooling vessel | User Input
Vessels | Gap Between Cooling Vessel And Intake Vessel | 5 | cm | Radial gap between the cooling vessel and intake vessel | User Input
Vessels | Gap Between Guard Vessel And Cooling Vessel | 5 | cm | Radial gap between the guard vessel and cooling vessel | User Input
Vessels | Gap Between Vessel And Guard Vessel | 0 | cm | Radial gap between the reactor vessel and guard vessel | User Input
Vessels | Guard Vessel Mass | 0 | kg | Total mass of the guard vessel | Calculated
Vessels | Guard Vessel Material | low_alloy_steel |  | Structural material of the guard vessel | User Input
Vessels | Guard Vessel Radius | 110.1706 | cm | Outer radius of the guard vessel | Calculated
Vessels | Guard Vessel Thickness | 0 | cm | Wall thickness of the guard vessel (0 if none) | User Input
Vessels | Intake Vessel Mass | 1065.1329 | kg | Total mass of the intake vessel | Calculated
Vessels | Intake Vessel Material | stainless_steel |  | Structural material of the intake vessel | User Input
Vessels | Intake Vessel Radius | 120.1706 | cm | Outer radius of the intake vessel | Calculated
Vessels | Intake Vessel Thickness | 0.5 | cm | Wall thickness of the intake vessel | User Input
Vessels | Integrated Heat Transfer Vessel Mass | 0 | kg | Total mass of the integrated heat transfer vessel (GCMR, 0 if none) | Calculated
Vessels | Integrated Heat Transfer Vessel Outer Volume | 0 | cm³ | Outer volume of the integrated heat transfer vessel (GCMR, 0 if none) | Calculated
Vessels | RPV Outer Height | 346.8956 | cm | Total outer height of the reactor pressure vessel including heads | Calculated
Vessels | RPV Outer Radius | 110.1706 | cm | Outer radius of the reactor pressure vessel (inner radius + wall thickness) | Calculated
Vessels | Total Vessels Mass | 8650.2559 | kg | Combined mass of all vessel components (pressure vessel, guard, cooling, intake) | Calculated
Vessels | Vessel Bottom Depth | 32.129 | cm | Depth of the vessel bottom head (ellipsoidal) | User Input
Vessels | Vessel Height | 276.6376 | cm | Total height of the reactor pressure vessel | Calculated
Vessels | Vessel Lower Plenum Height | 30 | cm | Height of the lower plenum region below the active core | User Input
Vessels | Vessel Mass | 6578.3703 | kg | Total mass of the reactor pressure vessel | Calculated
Vessels | Vessel Material | stainless_steel |  | Structural material of the reactor pressure vessel | User Input
Vessels | Vessel Radius | 107.1706 | cm | Inner radius of the reactor pressure vessel (or core barrel) | User Input
Vessels | Vessel Thickness | 3 | cm | Wall thickness of the reactor pressure vessel | User Input
Vessels | Vessel Upper Gas Gap | 0 | cm | Height of the upper gas gap above the upper plenum (0 if none) | User Input
Vessels | Vessel Upper Plenum Height | 47.152 | cm | Height of the upper plenum region above the active core | User Input
Vessels | Vessels Total Height | 322.2666 | cm | Total height of the complete vessel assembly | Calculated
Vessels | Vessels Total Radius | 120.6706 | cm | Total outer radius of the complete vessel assembly | Calculated
--- OPERATION ---
Operation | A75: Core Barrel Replacement Period (cycles) | 3 | cycles | Number of fuel cycles between scheduled core barrel replacements | User Input
Operation | A75: Drum Replacement Period (cycles) | 3 | cycles | Number of fuel cycles between scheduled control drum replacements | User Input
Operation | A75: Reflector Replacement Period (cycles) | 3 | cycles | Number of fuel cycles between scheduled reflector replacements | User Input
Operation | A75: Vessel Replacement Period (cycles) | 3 | cycles | Number of fuel cycles between scheduled reactor pressure vessel replacements | User Input
Operation | A78: CAPEX to Decommissioning Cost Ratio | 0.15 | fraction | Ratio of total decommissioning cost to total capital cost (typical range: 9%–15%) | User Input
Operation | Annual Coolant Supply Frequency | 4 | deliveries/year | Number of coolant resupply deliveries per year (1 if purified, 6 if not) | Calculated
Operation | Annual Electricity Production | 50659.2 | MWh/year | Total annual electricity production at the calculated capacity factor | Calculated
Operation | Capacity Factor | 0.96384 | fraction | Annual plant capacity factor — fraction of the year the plant operates at full power | Calculated
Operation | Emergency Shutdowns Per Year | 0.2 | events/year | Expected number of unplanned emergency shutdowns per year | User Input
Operation | Levelization Period | 40 | years | Plant lifetime used for LCOE levelization (economic analysis period) | User Input
Operation | Maintenance to Direct Cost Ratio | 0.03 | fraction | Ratio of annual non-replacement maintenance cost to total direct capital cost | User Input
Operation | Number of Operators | 2 |  | Number of operators assigned per shift | User Input
Operation | Onsite Coolant Inventory | 49.5 | kg | Total mass of coolant stored on site (fresh + used tanks) | User Input
Operation | Operation Mode | Remotely Monitored |  | Reactor operation mode: Remotely Monitored or On-Site Staffed | User Input
Operation | Reactors Monitored Per Operator | 9 |  | Number of reactors that can be monitored by a single operator | User Input
Operation | Refueling Period | 30 | days | Duration of the scheduled refueling outage | User Input
Operation | Replacement Coolant Inventory | 4.95 | kg | Mass of coolant replaced per refueling cycle | User Input
Operation | Security Staff Per Shift | 1 |  | Number of security personnel required per shift | User Input
Operation | Startup Duration after Emergency Shutdown | 14 | days | Duration of the startup sequence following an emergency shutdown | User Input
Operation | Startup Duration after Refueling | 2 | days | Duration of the startup sequence following a refueling outage | User Input
--- ECONOMIC PARAMETERS ---
Economic Parameters | Annual Return | 0.0475 | fraction | Annual return rate assumed for the decommissioning reserve fund | User Input
Economic Parameters | Assumed Number Of Units For Onsite Learning | 200 |  | Number of units assumed for onsite learning (typically 2 × NOAK Unit Number) | Calculated
Economic Parameters | Construction Duration | 12 | months | Duration of plant construction used for financing cost calculation | User Input
Economic Parameters | Control Building Basement Volume | 5.9448 | m³ | Volume of concrete in the control building basement | User Input
Economic Parameters | Control Building Exterior Walls Volume | 14.2072 | m³ | Volume of concrete in the control building exterior walls | User Input
Economic Parameters | Control Building Slab Roof Volume | 5.9448 | m³ | Volume of concrete in the control building slab roof | User Input
Economic Parameters | Debt To Equity Ratio | 1 | fraction | Ratio of debt financing to equity financing for the project | User Input
Economic Parameters | Discount Rate | 0.07 | fraction | Annual discount rate (WACC) used for LCOE levelization and cost annualization | User Input
Economic Parameters | Emergency Building Basement Volume | 0 | m³ | Volume of concrete in the emergency building basement (0 if none) | User Input
Economic Parameters | Emergency Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the emergency building exterior walls (0 if none) | User Input
Economic Parameters | Emergency Building Slab Roof Volume | 0 | m³ | Volume of concrete in the emergency building slab roof (0 if none) | User Input
Economic Parameters | Escalation Year | 2025 | year | Reference year to which all costs are escalated for consistent comparison | User Input
Economic Parameters | Excavation Volume | 412.605 | m³ | Volume of earth to be excavated for plant construction | User Input
Economic Parameters | FTEs Per Offsite Operator (24/7) | 5 | FTE/operator | Full-time equivalents needed per offsite operator position to maintain 24/7 coverage | User Input
Economic Parameters | FTEs Per Onsite Operator (24/7) | 5 | FTE/operator | Full-time equivalents needed per onsite operator position to maintain 24/7 coverage | User Input
Economic Parameters | FTEs Per Onsite Operator Per Year | 0.019167 | FTE/operator/year | Total FTE-years per operator per year including all activities | Calculated
Economic Parameters | FTEs Per Operator Per Year Per Refueling | 0.054167 | FTE/operator/year | Fraction of an FTE spent per operator per year on refueling-related activities | User Input
Economic Parameters | FTEs Per Security Staff (24/7) | 5 | FTE/staff | Full-time equivalents needed per security staff position to maintain 24/7 coverage | User Input
Economic Parameters | Hours Per FTE | 1800 | hours/year | Annual working hours per full-time equivalent employee | User Input
Economic Parameters | Integrated Heat Exchanger Building Basement Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building basement (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building exterior walls (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Slab Roof Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building slab roof (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Superstructure Area | 0 | m² | Floor area of the integrated heat exchanger building superstructure (0 if none) | User Input
Economic Parameters | Interest Rate | 0.07 | fraction | Annual cost of debt used to calculate interest during construction (Account 62) | User Input
Economic Parameters | Land Area | 18 | acres | Total land area required for the plant site | User Input
Economic Parameters | Manipulator Building Basement Volume | 17.8374 | m³ | Volume of concrete in the manipulator building basement | User Input
Economic Parameters | Manipulator Building Exterior Walls Volume | 15.9195 | m³ | Volume of concrete in the manipulator building exterior walls | User Input
Economic Parameters | Manipulator Building Slab Roof Volume | 4.7566 | m³ | Volume of concrete in the manipulator building slab roof | User Input
Economic Parameters | NOAK Unit Number | 100 |  | Nth-of-a-kind unit number used to calculate the learning curve cost multiplier | User Input
Economic Parameters | Number of Samples | 100 |  | Number of Monte Carlo samples used for cost uncertainty quantification | User Input
Economic Parameters | Radwaste Building Basement Volume | 0 | m³ | Volume of concrete in the radioactive waste building basement (0 if none) | User Input
Economic Parameters | Radwaste Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the radioactive waste building exterior walls (0 if none) | User Input
Economic Parameters | Radwaste Building Slab Roof Volume | 0 | m³ | Volume of concrete in the radioactive waste building slab roof (0 if none) | User Input
Economic Parameters | Reactor Building Basement Volume | 95.0976 | m³ | Volume of concrete in the reactor building basement | User Input
Economic Parameters | Reactor Building Exterior Walls Volume | 129.9564 | m³ | Volume of concrete in the reactor building exterior walls | User Input
Economic Parameters | Reactor Building Slab Roof Volume | 95.0976 | m³ | Volume of concrete in the reactor building slab roof | User Input
Economic Parameters | Reactor Building Superstructure Area | 77 | m² | Floor area of the reactor building superstructure | User Input
Economic Parameters | Refueling Building Basement Volume | 0 | m³ | Volume of concrete in the refueling building basement (0 if none) | User Input
Economic Parameters | Refueling Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the refueling building exterior walls (0 if none) | User Input
Economic Parameters | Refueling Building Slab Roof Volume | 0 | m³ | Volume of concrete in the refueling building slab roof (0 if none) | User Input
Economic Parameters | Spent Fuel Building Basement Volume | 0 | m³ | Volume of concrete in the spent fuel building basement (0 if none) | User Input
Economic Parameters | Spent Fuel Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the spent fuel building exterior walls (0 if none) | User Input
Economic Parameters | Spent Fuel Building Slab Roof Volume | 0 | m³ | Volume of concrete in the spent fuel building slab roof (0 if none) | User Input
Economic Parameters | Storage Building Basement Volume | 11.76 | m³ | Volume of concrete in the storage building basement | User Input
Economic Parameters | Storage Building Exterior Walls Volume | 15.768 | m³ | Volume of concrete in the storage building exterior walls | User Input
Economic Parameters | Storage Building Slab Roof Volume | 11.76 | m³ | Volume of concrete in the storage building slab roof (houses operational spares) | User Input
Economic Parameters | Turbine Building Basement Volume | 5.9448 | m³ | Volume of concrete in the turbine building basement | User Input
Economic Parameters | Turbine Building Exterior Walls Volume | 14.2072 | m³ | Volume of concrete in the turbine building exterior walls | User Input
Economic Parameters | Turbine Building Slab Roof Volume | 5.9448 | m³ | Volume of concrete in the turbine building slab roof | User Input
Economic Parameters | Work Hours Per Shift | 10 | hours | Duration of each work shift | User Input
Economic Parameters | indirect to direct field-related cost | 0.06539 | fraction | Ratio of indirect field (site) costs to total direct field costs — covers site supervision, temporary facilities, and other indirect site activities | User Input
--- CENTRAL FACILITY ---
Central Facility | Annual Reactor Cask Replacement | 9 | casks/year | Annual replacement rate for reactor transport casks. | User Input
Central Facility | Max Reactors Per Servicing Facility | 1000 | reactors/facility | Maximum number of reactors assigned to one servicing facility. | User Input
Central Facility | Reactor Transport Vehicle Count | 16 |  | Number of vehicles for transporting reactor units to/from field sites. | User Input
Central Facility | Servicing Facility Count | 1 | facilities | Number of servicing facilities required for the fleet. | Calculated
Central Facility | Servicing Facility Design Capacity | 1000 | reactors/facility | Standard facility capacity based on the largest assigned reactor count. | Calculated
Central Facility | Servicing Facility Reactor Counts | (1000,) | reactors | Balanced whole-reactor allocation across servicing facilities. | Calculated
Central Facility | Servicing Hot Cell Count | 4 |  | Number of hot cells for reactor servicing operations. | User Input
Central Facility | Servicing Rate Per Facility | 342.723 | reactors/year/facility | Fleet servicing rate distributed evenly across facilities. | Calculated
--- LEARNING RATES ---
Learning Rates | Cask Learning Cap | 100 | casks | Cask number after which unit-cost learning stops. | User Input
Learning Rates | Cask Learning Rate | 0.15 | fraction per doubling | Unit-cost reduction for each doubling of cask production experience. | User Input
Learning Rates | Factory Be | 0.41505 | fraction | Learning rate for factory-manufactured beryllium components | User Input
Learning Rates | Factory Be Cost Multiplier | 0.028363 | fraction | NOAK cost multiplier for beryllium components based on Wright's Law | Calculated
Learning Rates | Factory BeO | 0.39915 | fraction | Learning rate for factory-manufactured beryllium oxide components | User Input
Learning Rates | Factory BeO Cost Multiplier | 0.033897 | fraction | NOAK cost multiplier for beryllium oxide components based on Wright's Law | Calculated
Learning Rates | Factory Drums | 0.24138 | fraction | Learning rate for factory-manufactured control drum components | User Input
Learning Rates | Factory Drums Cost Multiplier | 0.15955 | fraction | NOAK cost multiplier for factory-built control drums based on Wright's Law | Calculated
Learning Rates | Factory Other | 0.22963 | fraction | Learning rate for other factory-manufactured components | User Input
Learning Rates | Factory Other Cost Multiplier | 0.17671 | fraction | NOAK cost multiplier for other factory-built components based on Wright's Law | Calculated
Learning Rates | Factory Primary Structure | 0.18443 | fraction | Learning rate for factory-manufactured primary structural components | User Input
Learning Rates | Factory Primary Structure Cost Multiplier | 0.25808 | fraction | NOAK cost multiplier for factory-built primary structure based on Wright's Law | Calculated
Learning Rates | Licensing Learning | 0.2 | fraction | Learning rate for licensing costs per doubling of cumulative units produced | User Input
Learning Rates | Licensing Learning Cost Multiplier | 0.22706 | fraction | NOAK cost multiplier for licensing costs based on Wright's Law | Calculated
Learning Rates | No Learning | 0 | fraction | Learning rate for components with no learning benefit (fixed costs, rate = 0) | User Input
Learning Rates | No Learning Cost Multiplier | 1 | fraction | NOAK cost multiplier for components with no learning (always 1.0) | Calculated
Learning Rates | Non-nuclear off-the-shelf | 0.05 | fraction | Learning rate for non-nuclear commercial off-the-shelf components | User Input
Learning Rates | Non-nuclear off-the-shelf Cost Multiplier | 0.71121 | fraction | NOAK cost multiplier for non-nuclear commercial components based on Wright's Law | Calculated
Learning Rates | Onsite Learning | 0.08 | fraction | Learning rate for onsite construction and installation activities | User Input
Learning Rates | Onsite Learning Cost Multiplier | 0.57466 | fraction | NOAK cost multiplier for onsite construction activities based on Wright's Law | Calculated
Learning Rates | Servicing Facility Learning Cap | 5 | facilities | Facility number after which servicing-facility OCC learning stops. | User Input
Learning Rates | Servicing Facility OCC Learning Multipliers | (1.0,) | fraction | Sequential OCC multiplier for each servicing facility. | Calculated
Learning Rates | Servicing Facility OCC Learning Rate | 0.3 | fraction per doubling | OCC reduction for each doubling of servicing-facility experience. | User Input
--- UNCATEGORIZED ---
Uncategorized | Annual Radwaste Cask Consumption | 171.3615 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Annual Used Fuel Cask Consumption | 342.723 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Average Distance From Serv to GenSite | 1000 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | CoolantInventoryRPV_Mass | 40.5125 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Cycle Length | 2.9178 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Deployment Period | 10 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Dwell Time GenSite | 0.0027397 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Dwell Time Reactor Transport GenSite | 0.0054795 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Dwell Time Reactor Transport Serv | 0.0054795 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Dwell Time Serv | 0.0027397 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Extra RPV Fraction | 0.015 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Fleet | 1000 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Fleet Mode | TRUE |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Fuel Mass In Core | 513.1211 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | GenSite Downtime | 0.083333 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Generating Sites Count | 966 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | He Gas Replenishment | 32570.8157 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | He Gas Replenishment Per Hot Cell | 3737.25 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Helicopter Count | 2 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Helium Purification and Storage Building Area | 1355.8203 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Helium Transport Truck Count | 71 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 223 to Reactor OCC per Testing Line Ratio | 0.1 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 30 to Account 20 Ratio | 0.5 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 716 to Accounts 711-715 Ratio | 0.02 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 717 to Accounts 711-715 Ratio | 0.075 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 741 to Account 20 Ratio | 0.005 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 742 to Account 20 Ratio | 0.05 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 743 to Account 20 Ratio | 0.01 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 747.1 to Accounts 741-743 Ratio | 0.05 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Account 747.4 to Account 20 Ratio | 0.005 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Administration Building Area | 4644.8282 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Campus Land Area | 63.4995 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Campus Power | 1.4376 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Construction Duration | 36 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Emergency Generator Power | 4.9992 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Fire Station Count | 1 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Guard Station Count | 1 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Local Control Building Area | 80 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Local Transport Vehicle Count | 2 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Maintenance Staff Headcount | 6 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Motion Detector Count | 108 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Protected Perimeter | 1590.7705 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Road Length | 1828.8021 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Security Building Area | 815.244 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Security Camera Count | 68 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Security Staff Per Shift | 6 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Site Perimeter | 1828.8021 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Switchyard Rating | 3 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Testing Coolant Allotment | 153.8153 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Testing Engineering Headcount | 8 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Testing Line Annual Rate | 86 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Testing Line Count | 2 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Testing Number of Operators | 10 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Utility Vehicle Count | 3 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Warehouse Building Area | 6499.9414 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | MFG Warehouse Staff | 7 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Maintenance Truck Count | 13 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Maintenance Visit Frequency | 0.68545 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Manufacturing Campus Area | 63.4995 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Moderator Booster Mass ZrH | 1216.0226 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Parts Service Center and Warehouse Building Area | 11688.6992 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Production Rate | 100 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Radioactive Waste Processing Hot Cell Count | 1 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Radwaste Storage Warehouses Area | 1708954.8591 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Reactor Transport Cask Count | 170 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Roundtrip Time | 0.011416 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Roundtrip Time Reactor Transport | 0.030441 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 30 to Account 20 Ratio | 0.5 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 716 to Accounts 711-715 Ratio | 0.02 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 717 to Accounts 711-715 Ratio | 0.075 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 741 to Account 20 Ratio | 0.005 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 742 to Account 20 Ratio | 0.05 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 743 to Account 20 Ratio | 0.01 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 747.1 to Accounts 741-743 Ratio | 0.05 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Account 747.4 to Account 20 Ratio | 0.005 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Administration Building Area | 23969.5673 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Campus Area | 854.8609 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Campus Land Area | 854.8609 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Construction Duration | 36 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Controlled Perimeter | 0 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Emergency Generator Power | 65.1732 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Engineering Headcount | 521 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Fire Station Count | 3 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Guard Station Count | 4 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Helium Flowrate | 0.0011468 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Local Control Building Area | 4560 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Local Transport Vehicle Count | 2 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Maintenance Staff Per Shift | 2555 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Motion Detector Count | 1454 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Number of Operators Per Shift | 320 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Protected Perimeter | 1595.7913 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Rad Waste Management Building Area | 1377.9456 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Radiation Monitor Count | 3 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Remote Control Building Area | 4560 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Road Length | 1846.1471 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Security Building Area | 815.244 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Security Camera Count | 916 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Security Staff Per Shift | 50 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Site Perimeter | 1846.1471 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Switchyard Average Power | 164.3865 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Switchyard Rating | 328.7729 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | SER Utility Vehicle Count | 50 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Service Air Water Building Count | 3 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Servicing Hot Cell Annual Rate | 111 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Servicing Hot Cell Building Area | 35636.8096 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Servicing Rate | 342.723 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Servicing Total Time | 0.027397 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Shift To Headcount | 5 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Used Fuel Storage Lifetime Capacity | 8548765.5202 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Water Supply Frequency | 4 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | Water Tanker Truck Count | 71 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown
Uncategorized | m3_to_kg_He_RT_atmospheric | 0.1661 |  | --- Not in params registry. Please add to cost/params_registry.py --- | Unknown