## GNCOA
Account | Account Title | Estimated Cost (2024 $)
10 | Capitalized Pre-Construction Costs
11 | Land Cost
13 | Plant Licensing
15 | Plant Studies
20 | Capitalized Direct Costs
21 | Structures and Improvements
212 | Reactor Island Civil Structures
212A | Pit preparation (coordination and mods)
212B | Reactor silo (concrete )
212C | Reactor Building
214 | Buildings to Support Main Function
214.7 | Emergency and Start-up Power Systems
22 | Reactor System
221 | Reactor Components
221.1 | Reactor vessel and accessories
221.11 | Reactor support
221.12 | Outer vessel structure
221.13 | Inner vessel structure
221.2 | Reactor control devices
221.21 | Reactivity control system
221.21A | Reactivity Control System Fabrication
221.21B | installation
221.21C | Control Drums Materials
221.21D | Control Drums Materials
221.3 | Non-fuel core internals
221.31 | Reflector
221.32 | Shield
221.32A | In vessel shield materials
221.32B | Out the vessel shield materials
222 | Main Heat Transport System
222.1 | Fluid circulation drive system (pumps)
222.1A | Primary pumps
222.1B | Secondary pumps
222.2 | Reactor Heat Transfer Piping System
222.3 | Heat Exchangers
222.3A | Immediate Heat Exchanger
222.3B | Secondary Heat Exchanger
223 | Safety Systems
223.2 | Reactor Cavity Cooling System (RVACS)
223.2A | RVACS (Cooling Vessel)
223.2B | RVACS (Intake Vessel)
227 | Reactor Instrumentation and Control (I&C)
227A | I&C baseline cost
227B | I&C autonomous control
23 | Energy Conversion System
232 | Energy Applications
232.1 | Electricity Generation Systems (turbines)
24 | Electrical Equipment
25 | Initial Fuel Inventory
251 | First Core Mining
252 | First Core Conversion
253 | First Core Enrichment
254 | First Core Fuel Assembly Fabrication
254A | Fuel Production and Procurement
254B | Other related activities
26 | Miscellaneous Equipment (cranes)
30 | Capitalized Indirect Services Cost
31 | Factory & Field Indirect Costs
32 | Factory & Construction Supervision
33 | Startup Costs
34 | Shipping and Transportation Costs
35 | Engineering Services
36 | PM/CM Services
60 | Capitalized Financial Costs
62 | Interest
70 | Annualized O&M Cost
71 | O&M Staff
711 | Operators
712 | Remote Monitoring Technicians
713 | Security Staff
75 | Capital Plant Expenditures
78 | Annualized Decommissioning Cost
80 | Annualized Fuel Cost
81 | Refueling Operations
82 | Additional Nuclear Fuel
83 | Spent Fuel Management
Overnight Capital Cost (OCC)
OCC ($/kW)
OCC Excluding Fuel ($/kW)
Total Capital Investment (TCI)
TCI ($/kW)
Annualized Cost ($/ year)
Annualized Cost ($/MWh)
Levelized Cost Of Energy (LCOE) ($/MWh)

## Cost Database
Account | Account Title | Fixed Cost ($) | Unit Cost ($) | Unit Cost (units) | Exponent | Dollar Year | Source
10 | Capitalized Pre-Construction Costs
11 | Land Cost |  | 3952 | $/lane area (acres) | 1 | 2024
12 | Site Permits |  | 10.03 | $/Kwe | 1 | 2022
13 | Plant Licensing | 45000000 |  |  |  | 2024
14 | plant permit | 4291800 |  |  |  | 2024
15 | Plant Studies | 5210451 |  |  |  | 2023 | MARVEL
20 | Capitalized Direct Costs
21 | Structures and Improvements
212 | Reactor Island Civil Structures
212A | Pit preparation (coordination and mods)
212B | Reactor silo (concrete )
212C | Reactor Building
214 | Buildings to Support Main Function
214.7 | Emergency and Start-up Power Systems
22 | Reactor System
221 | Reactor Components
221.1 | Reactor vessel and accessories
221.11 | Reactor support
221.12 | Outer vessel structure
221.13 | Inner vessel structure
221.2 | Reactor control devices
221.21 | Reactivity control system
221.21A | Reactivity Control System Fabrication
221.21B | installation
221.21C | Control Drums Materials
221.21D | Control Drums Materials
221.3 | Non-fuel core internals
221.31 | Reflector
221.32 | Shield
221.32A | In vessel shield materials
221.32B | Out the vessel shield materials
222 | Main Heat Transport System
222.1 | Fluid circulation drive system (pumps)
222.1A | Primary pumps
222.1B | Secondary pumps
222.2 | Reactor Heat Transfer Piping System
222.3 | Heat Exchangers
222.3A | Immediate Heat Exchanger
222.3B | Secondary Heat Exchanger
223 | Safety Systems
223.2 | Reactor Cavity Cooling System (RVACS)
223.2A | RVACS (Cooling Vessel)
223.2B | RVACS (Intake Vessel)
227 | Reactor Instrumentation and Control (I&C)
227A | I&C baseline cost
227B | I&C autonomous control
23 | Energy Conversion System
232 | Energy Applications
232.1 | Electricity Generation Systems (turbines)
24 | Electrical Equipment
25 | Initial Fuel Inventory
251 | First Core Mining
252 | First Core Conversion
253 | First Core Enrichment
254 | First Core Fuel Assembly Fabrication
254A | Fuel Production and Procurement
254B | Other related activities
26 | Miscellaneous Equipment (cranes)
30 | Capitalized Indirect Services Cost
31 | Factory & Field Indirect Costs
32 | Factory & Construction Supervision
33 | Startup Costs
34 | Shipping and Transportation Costs
35 | Engineering Services
36 | PM/CM Services
60 | Capitalized Financial Costs
62 | Interest
70 | Annualized O&M Cost
71 | O&M Staff
711 | Operators
712 | Remote Monitoring Technicians
713 | Security Staff
75 | Capital Plant Expenditures
78 | Annualized Decommissioning Cost
80 | Annualized Fuel Cost
81 | Refueling Operations
82 | Additional Nuclear Fuel
83 | Spent Fuel Management
Overnight Capital Cost (OCC)
OCC ($/kW)
OCC Excluding Fuel ($/kW)
Total Capital Investment (TCI)
TCI ($/kW)
Annualized Cost ($/ year)
Annualized Cost ($/MWh)
Levelized Cost Of Energy (LCOE) ($/MWh)

## Inflation Adjustment
Year | Multiplier
1985 | 2.351
1986 | 2.2868
1987 | 2.2176
1988 | 2.137
1989 | 2.0463
1990 | 1.9789
1991 | 1.9159
1992 | 1.8731
1993 | 1.8214
1994 | 1.7926
1995 | 1.7523
1996 | 1.7126
1997 | 1.6819
1998 | 1.6544
1999 | 1.6337
2000 | 1.6176
2001 | 1.6049
2002 | 1.6083
2003 | 1.6019
2004 | 1.5725
2005 | 1.5426
2006 | 1.5135
2007 | 1.4775
2008 | 1.4458
2009 | 1.4475
2010 | 1.4581
2011 | 1.4323
2012 | 1.417
2013 | 1.4165
2014 | 1.4035
2015 | 1.3913
2016 | 1.3825
2017 | 1.3701
2018 | 1.3486
2019 | 1.3199
2020 | 1.2856
2021 | 1.1838
2022 | 1.0472
2023 | 1
2024 | 1